- NOTE TO SPECIFIER:  PLEASE ENABLE VIEWING OF HIDDEN TEXT!  Many notes are interspersed throughout to offer explanations or guidance, and indications on when or if to keep certain items.

- SECTION 071900 CLEAR WATER REPELLENTS

- GENERAL

      - RELATED DOCUMENTS

        - Division 01 Specification Sections, Drawings, General Conditions, Supplementary General Conditions, and Special Conditions apply to this section.

      - SUMMARY

        - Section Includes: Provide clear water repellent treatment for exposed exterior surfaces of special color and texture concrete masonry construction.  Products installed, but not furnished, under this Section:

LIMIT BELOW TO CLARIFYING COORDINATION AND TO PREVENT DUPLICATION OF BIDS.

        - Related Sections:

Edit the following list as needed.

          - Section 042200 Concrete Unit Masonry:  Mock-ups and testing requirements for systems with clear water repellent treatment.

          - Section 042200.13 Concrete Unit Veneer Masonry:  Mock-ups and testing requirements for systems with clear water repellent treatment.

          - Section 042713 Composite Unit Masonry:  Mock-ups and testing requirements for systems with clear water repellent treatment.

          - Section 079200 Joint Sealants:  Coordination for compatibility.

          - Section 099653 Elastomeric Coatings:  Opaque elastomeric waterproof coatings.

      - REFERENCES

        - ASTM C 140 - Methods for Sampling and Testing Concrete Masonry Units.

        - ASTM E 96 - Test Methods for Water Vapor Transmission of Materials.

        - ASTM E 514 - Standard Test Method for Water Penetration and Leakage Through Masonry.

        - ASTM G 53 - Standard Practice for Operating Light- and Water-Exposure Apparatus for Exposure of Nonmetallic Materials.

      - SYSTEM DESCRIPTION

        - Performance Requirements:

          - Absorption: Provide treatment materials which have been tested on concrete masonry to indicate degree of change of absorption of concrete masonry units based on ASTM C 140.

            - Effectiveness: Minimum 85% over control units.

          - Water Vapor Transmission: Provide treatment materials which have been tested on concrete masonry to indicate degree of change of water vapor transmission through concrete masonry units based on ASTM E 96.

            - Change: No significant change in water vapor transmission.

          - Water Permeance:  98% min. reduction of water penetration through the masonry wall in accordance with ASTM E 514.

          - Weathering and UV Stability: Provide treatment materials tested on concrete masonry in accordance with ASTM G 53.

          - WHERE GLOSS IS INTENDED, REVISE CHANGE TO READ “NO SIGNIFICANT CHANGE IN UNIT GLOSS, COLOR OR ABSORPTION.”

- a.	Change: No significant change in unit color or absorption.

      - SUBMITTALS

        - Product Data: Submit manufacturer’s literature for clear water repellent treatment.

        - Samples: Submit samples of concrete masonry units approved for use in Project with water repellent treatment applied to half of each sample face; indicate which half has been coated.

        - Quality Assurance Submittals:

          - Test Reports.  Submit test reports indicating compliance with performance requirements for absorption, water vapor transmission, and weathering and UV stability.

          - Certificates.

            - Submit installer qualification certificates.

            - Submit manufacturer’s installer approval certificate.

            - Submit certification indicating materials comply with applicable VOC limitations.

          - Manufacturer’s Instructions: Provide copies of manufacturer’s installation instructions to field office.

          - Manufacturer’s Field Reports: Submit report of manufacturer’s representatives indicating materials have been installed in accordance with manufacturer’s instructions and recommendations.

      - QUALITY ASSURANCE

        - Qualifications:

          - Qualification of Manufacturer: Firm with minimum five years record of successful in service experience of clear water repellent treatments manufactured for concrete masonry unit application.

          - Qualification of Installers: Applicator with minimum five years successful experience in projects of similar scope using specified or similar treatment materials and approved by treatment manufacturer.

- WHERE KNOWN, VOC LIMITATIONS SHOULD BE INCLUDED BELOW.  WHERE UNKNOWN OR SUBJECT TO REGULAR REVISION, USE FOLLOWING GENERAL STATEMENT.

        - Regulatory Requirements: Provide materials with not more than the maximum volatile organic compounds (VOC) as required by applicable authorities.

        - Mock-Up: Prior to commencing work, including bulk purchase and delivery of material, apply clear water repellent treatment to concrete masonry mock-up indicated in Contract Documents.

          - Testing: Provide field testing of concrete masonry system mock-up, including clear water repellent treatment; test to be observed by Owner’s representative and water repellent treatment manufacturer’s representative

- MODIFY BELOW WHERE RILEM OR ASTM E 514 TESTS ARE TO BE USED INSTEAD OF OR IN ADDITION TO AAMA 501.2.

            - Application: Apply clear water repellent treatment to left side of mock-up and allow to cure prior to application of treatment to right side of mock-up.

            - Test: Twenty days after completion of application of treatment, test mock-up with 5/8 inch garden hose with spray nozzle located ten feet from wall and aimed upward so water strikes wall at 45 degree downward angle.

              - Run water continuously for two hours.

              - Observe back side of mock-up for water penetration and leakage; where leakage is detected make changes as needed to correct and retest.

            - Results: Cooperate with testing procedures and modify Project treatment application as required to pass mock-up tests for water penetration and leakage resistance.

          - Approval: Proceed with clear water repellent treatment work only after completion of field test application and approval of mock-up.

        - Pre-Installation Meeting:

          - Attend pre-installation meeting required prior to commencement of concrete masonry installation.

          - Review procedures and coordination required between concrete masonry and clear water repellent treatment work and between treatment work and work which could be affected by or affect treatment.

          - Convene additional pre-installation meeting prior to water repellent treatment application for coordination with work not previously coordinated including joint sealers as needed.

      - DELIVERY, STORAGE, AND HANDLING

        - Delivery: Deliver water repellent treatment products to job site in manufacturer’s container with label intact and listing product identification, batch number and date of manufacture.

        - Storage: Keep materials in original, unopened containers; prevent contamination by foreign materials.

      - SITE CONDITIONS

        - Environmental Requirements: Comply with manufacturer’s recommendations; do not apply clear water repellent treatments under following conditions.

          - During inclement weather, when air temperature is below 50 degrees Fahrenheit or above 100 degrees Fahrenheit.

          - When rain or temperatures below 40 degrees Fahrenheit are predicted for a period of 24 hours before or after treatment application.

          - Earlier than 3 days after surfaces became wet.

          - When substrates might be frozen.

          - When surface temperature is less than 40 degrees Fahrenheit.

      - WARRANTY

- BELOW IS SPECIAL PROJECT WARRANTY, NOT STANDARD MANUFACTURER MATERIAL WARRANTY.  MODIFY WHERE LONGER TERM IS CONSIDERED NECESSARY OR WHERE REPAIR OF MATERIALS DAMAGED BY LEAKS IS TO BE INCLUDED.

        - Special Warranty: Provide for correcting failure of water repellent treatment to resist penetration of water.

          - Warranty Period: Minimum of five years.

- PRODUCTS

      - MATERIALS

- PROVIDE INFORMATION REGARDING ACCEPTABLE MANUFACTURERS AND PRODUCTS, OR SUFFICIENT DESCRIPTION TO ALLOW COMPETITIVE BIDDING.

        - Clear Water Repellent Treatment:

- MODIFY BELOW AS APPLICABLE.  REQUIREMENTS FOR TYPE (PENETRATING OR SURFACE SEAL), CHEMICAL COMPOSITION, GLOSS, PERCENTAGE OF SOLIDS, AND OTHER  ATTRIBUTES CAN BE INCLUDED AS APPLICABLE—VERIFY.

          - Appearance: Clear, non-yellowing water repellent treatment shall not alter appearance, color, or texture of substrate under any lighting conditions.

        - Compatibility: Provide products which are recommended by manufacturer to be fully compatible with indicated substrates and joint sealers which are in contact with water repellent treatment.

- EXECUTION

      - EXAMINATION

- NOTE THAT SOME WATER REPELLENT TREATMENTS SHOULD BE APPLIED TO DAMP SURFACES.

        - Verification of Conditions: Examine substrates; do not apply treatment to damp, dirty, dusty, or otherwise unsuitable surfaces; comply with manufacturer recommendations.

          - Do not begin application of clear water repellent treatment until voids and beeholes visible from 5 feet, and cracks greater than 0.02” wide in masonry substrate have been repaired.

      - PREPARATION

        - Protection:  Provide masking or covering for materials which could be damaged by application of clear water repellent treatment.

- VERIFY REQUIREMENTS BELOW BASED ON COMPATIBILITY OF TREATMENT AND SEALANTS. WHERE COMPATIBILITY IS UNKNOWN USE FOLLOWING.

          - Sealant Coordination: Assure treatment compatibility with each type of joint sealer within or adjacent to surfaces receiving clear water repellent treatment.

            - Coordinate treatment application with joint sealers; where recommended by joint sealer manufacturer, apply treatment after application and cure of joint sealers.

            - Mask surfaces indicated to receive joint sealers which would be adversely affected by clear water repellent treatment where treatment must be applied prior to application of joint sealers.

- CHECK WITH MANUFACTURER FOR ITEMS REQUIRING PROTECTION.

          - Protect glass, glazed products, and prefinished products from contact with water repellent treatment.

          - Protect landscape materials with breathing type drop cloths; plastic covers are not acceptable.

        - Surface Preparation: Prepare substrates in accordance with water repellent treatment manufacturer’s recommendations.

          - Clean surfaces of dust, dirt and foreign matter detrimental to proper installation of water repellent treatment.

      - APPLICATION

- REVIEW MANUFACTURER’S LITERATURE; AVOID UNNECESSARY REPETITION. WHERE ITEMS NOTED AS RECOMMENDATIONS ARE GIVEN, SPECIFICATIONS CAN LIST THEM AS REQUIREMENTS WHERE DESIRED AND WHERE APPROPRIATE.

        - General: Apply treatment in accordance with clear water repellent treatment manufacturer’s instructions and applicable recommendations, including number of coats, maximum allowable coverage, and equipment.

          - Review procedures used for application of treatment to mock-up and recommendations for changes needed based on water penetration tests conducted on mock-up.

          - Consult with manufacturer’s representative for site inspections, for proper application techniques not fully covered in manufacturer instructions, and for applicable recommendations.

      - REPAIR

        - Repair or replace materials damaged by application of water repellent treatment.

      - FIELD QUALITY CONTROL

        - Site Inspections: Manufacturer’s representative shall inspect application of water repellent treatment in progress to verify compliance with manufacturer instructions and recommendations.

      - CLEANING

        - Clean water repellent treatment from surfaces not indicated to be treated immediately; comply with recommendations of materials manufacturers for proper cleaning techniques to prevent damage.

END OF SECTION 071900